## Slide 1
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 2
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 3
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 4
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 5
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 6
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 7
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 8
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 10
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 11
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 12
Notes: Section slide
On the iclicker toolbar, click on the down arrow and click to turn off “Anonymous polling.”

## Slide 18
3,542oF

## Slide 19
3,542oF
50oF
120oF

## Slide 23
6,348,000 kWh/yr.

## Slide 24
Chart: Science Museum of Minnesota Chilled Water Usage, Before and After Retrofit

## Slide 25
Chart: 
 | 21659205400 | 0
BTUs

## Slide 26
Chart: 
 | 21659205400 | 15816934160
Exported/yr.
Imported/yr.
BTUs

## Slide 27
Chart: Science Museum of Minnesota Chilled Water Usage, Before and After Retrofit

## Slide 31
Telephone
Switching

## Slide 32
Telephone
Switching
Computer Servers

## Slide 33
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 34
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 35
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 36
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 37
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 38
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 39
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 40
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 41
Telephone
Switching
Computer Servers
Elevator
Equipment

## Slide 42
The Science Museum of Minnesota has reduced its purchases of heat energy by how much through its recent exergy retrofit?
A. 25%
B. 33%
C. 50%
D. 75%
Notes: Example question, with or without picture
1. Start question, click ok.
2. Have participants click on answers.
3. Click stop.
4. Click once on slide to reveal answer and image (optional).
5. Click display to see results (you may need to move the graph to the blank space on the slide and/or resize it).
6. Click on graph to see correct answer.
7. Click display to hide results.
8. Click slide once to advance.

## Slide 43
The Science Museum of Minnesota has reduced its purchases of heat energy by how much through its recent exergy retrofit?
A. 25%
B. 33%
C. 50%
D. 75%
Notes: Example question, with or without picture
1. Start question, click ok.
2. Have participants click on answers.
3. Click stop.
4. Click once on slide to reveal answer and image (optional).
5. Click display to see results (you may need to move the graph to the blank space on the slide and/or resize it).
6. Click on graph to see correct answer.
7. Click display to hide results.
8. Click slide once to advance.

## Slide 44
Chart: Science Museum of Minnesota Chilled Water Usage, Before and After Retrofit

## Slide 45
KWhs/Yr.
Chart: 
 | 6347950 | 6916506 | 5587363
Forecast
Recommissioning 2010
Past 12 months

## Slide 46
KWhs/Yr.
Chart: 
 | 6347950 | 6916506 | 5587363
Forecast
Recommissioning 2010
Past 12 months

## Slide 47
KWhs/Yr.
Chart: 
 | 6347950 | 6916506 | 5587363
Forecast
Recommissioning 2010
Past 12 months

## Slide 48
 | DE FY 2016 NORMALIZED TO DE FY 2013 | Hot Water (MWh) | Steam (MWh) | HW+Steam (MWh) | Chilled Water (MWh) | Electricity (MWh) | Total Annual Energy Consumption (MWh)
Before Retrofit | Oct 2012 thru Sep 2013 | 4,627 | 1,202 | 5,829 | 4,921 | 5,774 | 22,353
After Retrofit | Oct 2015 thru Sep 2016 | 1,174 | 917 | 2,090 | 4,049 | 5,315 | 13,545
 | Reduction | -75% | -24% | -64% | -18% | -8% | -39%

## Slide 49
Chart: Science Museum of Minnesota Total $ Energy for Utilitites
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2013 | 107267.33 | 102927.68 | 103280.14 | 100074.91 | 114634.55 | 103008.88 | 124229.33 | 121441.14 | 98188.22 | 93245.01 | 104846.75 | 148190.85

## Slide 50
Chart: Science Museum of Minnesota Total $ Energy for Utilitites
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2013 | 107267.33 | 102927.68 | 103280.14 | 100074.91 | 114634.55 | 103008.88 | 124229.33 | 121441.14 | 98188.22 | 93245.01 | 104846.75 | 148190.85
2016 | 91170.27 | 82969.64 | 73357 | 72702.85 | 74045.54 | 81026.77 | 83093.13 | 78345.23 | 76025.92 | 63332.68 | 66390.2483 | 87264.6173

## Slide 51
Cost, Savings and Return on Advanced Heat Recovery
$900,000 Purchase, installation and commissioning of heat
recovery equipment

## Slide 52
Cost, Savings and Return on Advanced Heat Recovery
$900,000 Purchase, installation and commissioning of heat
recovery equipment
$293,000 Estimated annual savings

## Slide 53
Other Complementary Building Improvements

## Slide 54
Other Complementary Building Improvements
Direct digital controls upgrade

## Slide 55
Other Complementary Building Improvements
Direct digital controls upgrade
CO2 demand ventilation

## Slide 56
Other Complementary Building Improvements
Direct digital controls upgrade
CO2 demand ventilation
Pneumatic damper actuation conversion

## Slide 57
Other Complementary Building Improvements
Direct digital controls upgrade
CO2 demand ventilation
Pneumatic damper actuation conversion
Continuous commissioning program

## Slide 58
factory workers,

## Slide 59
factory workers,
truck drivers,

## Slide 60
factory workers,
truck drivers,
riggers,

## Slide 61
factory workers,
truck drivers,
riggers,
concrete workers,

## Slide 62
factory workers,
truck drivers,
riggers,
concrete workers,
electricians,

## Slide 63
factory workers,
truck drivers,
riggers,
concrete workers,
electricians,
pipefitters,

## Slide 64
factory workers,
truck drivers,
riggers,
concrete workers,
electricians,
pipefitters,
software technicians,

## Slide 65
factory workers,
truck drivers,
riggers,
concrete workers,
electricians,
pipefitters,
software technicians,
and many others….

## Slide 68: U.S. Energy improvements since 2008
Costs Use
LED lights 90% 195X
Source: U.S. DOE

## Slide 69: U.S. Energy improvements since 2008
Costs Use
LED lights 90% 195X
Solar energy 60% 20X
Source: U.S. DOE

## Slide 70: U.S. Energy improvements since 2008
Costs Use
LED lights 90% 195X
Solar energy 60% 20X
Wind energy 40% 3X
Source: U.S. DOE

## Slide 72
Thank you
Patrick Hamilton
Director, Global Change Initiatives
Science Museum of Minnesota
@PatrickHamilto2
phamilton@smm.org
651-221-4761
Notes: Example question, with or without picture
1. Start question, click ok.
2. Have participants click on answers.
3. Click stop.
4. Click once on slide to reveal answer and image (optional).
5. Click display to see results (you may need to move the graph to the blank space on the slide and/or resize it).
6. Click on graph to see correct answer.
7. Click display to hide results.
8. Click slide once to advance.