## Instructions
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources |  | Key
Attachment E- Economic and Technical Data Form |  | Inputs
Non-Compliant Input
No Action Required
Instructions
The intended use of this form is to ensure that all critical information for qualitative evaluation is provided. As such, please be as thorough and accurate as possible so that the bid is evaluated fairly to the respondent.
Notes | Description
1 | Please complete ONE form per proposal. If submitting multiple pricing structures, please fill out the additional pricing sheets. Respondents can submit 1 BOT pricing structure and 3 PPA pricing structures for each proposal.
2 | Fill out each cell highlighted green. If you are unable to fill out a cell, leave an explanation or note with reasoning.
3 | Please email this form to DSESRFP@mnpower.com by 5:00 PM CST of the Proposal Submission Deadline.

## Bidder Information
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
| General Information | Bidder Response
Company Name
Tax ID Number
Company Structure (LLC, Corp, etc.)
Address
Website, if applicable
Primary Bidder Contact: Name, Address, Phone, Email
Alternate Bidder Contact: Name, Address, Phone, Email
| Credit and Financial Plan | Bidder Response
Provide Respondent/Guarantor senior unsecured debt rating within last 12 months for following (if available):
Moody's
S&P
Fitch
Do you have long-term commitments in addition to the ones quantified on the face of the financial statements? In particular, do you have outstanding parent company guarantees in respect of existing projects?
What is your annual average revenue from construction work?
What is your projected revenue from construction projects in the current year?
Please acknowledge that Respondent has reviewed Minnesota Power's BOT and PPA term sheets and is agreeable to the associated financial obligations associated with entering into either of these contracts.
Have you provided a parental guarantee, surety bond, or letter of credit?
| Bonding Information | Bidder Response
Please provide documentation on your bonding capacity for the expected project cost (please include bonding company, contact person, bond capacity per project, aggregate capacity, bond company rating, surety broker/agent, address, phone number, and the last bond issued date and amount).
Has your company or a subcontractor to you ever failed to perform on a bonded contract, or has a surety ever taken over or completed a project on behalf of your company? Please elaborate.
| Developer Experience | Bidder Response
Founding year of Respondent
Development experience: MW currently in service of respective resources (e.g. MW of solar)
Please provide examples of projects of similar size/nature that you have performed and describe your role in the project.
Please elaborate on the following for the project examples listed above: dollar amount of project, project dates, scope of work performed, on-time performance information, and references for each project listed.
| Legal Information | Bidder Response
Has your company been involved in any legal action within the last five years resulting from a claim by a current or past client/contractor/subcontractor? If yes, please provide details and results of claim.
Are there any judgments, claims, arbitration proceedings or suits pending or outstanding against your organization or its officers/members/management?
Has your company ever been assessed liquidated damages? Please provide detail.
| Environmental Information | Bidder Response
Has your company or a subcontractor on your projects had any environmental violations/fines in the last 3 years? If so, please describe.
Do any members of your staff have any special environmental training or certifications?
| Safety Information | Bidder Response
Do you have an OSHA Recordable Incident Rate of 1 or less?
Please provide your Experience Modification Rate (EMR) for the last 3 years.
What is your OSHA total recordable incident rate (TRIR) and your OSHA citation history for the last 3 years?
If more than 50-100 of your employees are on a job site, do you have a safety specialist that will be on site?
Does your company have a Workplace Accident and Injury Reduction program that is based on clearly stated goals and objectives for meeting those goals in compliance with Minnesota Statutes?
| Prevailing Wage / Union Labor | Bidder Response
What percentage of your anticipated project labor force is union?
What percentage of your anticipated project labor will be paid a prevailing wage rate (as defined in section 117.42)?
Please specify which union(s) or state(s) apply.
Does your company have an apprenticeship program registered under chapter 178 or Code of Federal Regulations, title 29, part 29?
| Diversity, Equity And Inclusion | Bidder Response
Is your company certified as a diverse business? If yes, please indicate the classification. Include a current copy of the certification from an industry recognized organization or state/local government.
What percentage of your expenditures are currently with diverse suppliers?
What percentage of your expenditures with diverse suppliers do you plan on utilizing for this project?
| Small Businesses | Bidder Response
Is your company a small business (based on U.S. Small Business Administration size standards)? If yes, please indicate your company NAICS code(s).
What percentage of your expenditures are currently with small businesses?
What percentage of your expenditures with small businesses do you plan on utilizing for this project?
| Required Signatures | Bidder Response
1 Legal Certifications Acknowledgement (Sign)
2 Confidentiality Acknowledgement (Sign)
3 Evaluation Process Acknowledgement (Sign)
4 Reservation of MP Rights Acknowledgement (Sign)
1. LEGAL CERTIFICATIONS
A bidder must certify that:
a. there are no pending legal or civil actions that would impair the bidder’s ability to submit a bid into the RFP and to perform its obligations under the proposed PPA or BOT as applicable, the bidder has not directly or indirectly induced or solicited any other respondent to submit a false or sham proposal,
b. the bidder has not solicited or induced any other person, firm, or corporation to refrain from submitting a proposal, and
c. the bidder has not sought by collusion to obtain any advantage over any other respondent.
2. CONFIDENTIALITY
Note that any portion of a bidder’s proposal that the bidder deems to be confidential must be clearly marked. MP and its consultants will take reasonable precautions to maintain the confidentiality of such information. However, MP is rate regulated by the MPUC; bidders must recognize that their confidential information may have to be shared with regulatory agencies and provided in MPUC regulatory proceedings as well as other regulatory or legal proceedings. MP will employ reasonable efforts to ensure that such confidential information is not publicly disclosed in such proceedings but can give no guarantees of such protection.
3. EVALUATION PROCESS
MP’s evaluation of power supply proposals will involve the following steps:
a. Screening for completeness and compliance with minimum eligibility requirements
b. Price and non-price analysis
c. Selection of initial shortlist
d. Full interconnection application process
e. Selection of final shortlist
f. Additional due diligence and contract negotiation
g. Final selection
4. RESERVATION OF RIGHTS
MP makes the following reservations in undertaking this power supply solicitation:
a. MP reserves the right to modify or withdraw this Resource Request,
b. MP reserves the right to reject any and all responses to this Resource Request,
c. MP’s Resource Request does not equate to an offer to purchase any capacity and energy,
d. All proposal preparation costs must be borne by the bidder,
e. Proposals will not be returned to the bidders,
f. MP may accept a proposal that is not the lowest cost proposal(s),
g. MP may seek clarification from bidders and may request additional information from bidders beyond that which is specifically identified in the Resource Request,
h. MP reserves the right to waive bidder noncompliance with any aspect of its Resource Request,
i. MP may conduct negotiations with selected bidders and may terminate negotiations at any time,
j. Any and all decisions are conditioned on the approval of MP’s management and Board of Directors as well as all required regulatory and other approvals, and
k. MP reserves the right to modify or supplement this Resource Request at any time during this process. Any such modifications or supplements shall become part of this process and shall be addressed as part of any proposal submitted.

## Project Information
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
| General Information | Bidder Response
Facility Description
Will this Project include a Storage Asset Component?
Project Size in MW (and MWh/duration for projects including energy storage)? If submitting solar + storage bid, please note combined nameplate capacity may not exceed 10 MWAC.
Solar MWAC
Storage MWAC
Solar Array DC-AC Ratio
Ground Coverage Ratio (GCR) %
| Base Assumptions | Bidder Response
Date of Purchase/Contract Start Date (mm/dd/yyyy)
Estimated Retirement Date (mm/dd/yyyy)
| Project Information | Bidder Response
Site Control
Acreage Needed (Usable for Installation)
Acreage Secured / Under Site Control (Usable for Installation)
Leased Acres / MWAC
Is site control contiguous or otherwise connected with collection easement agreements?
Has site control been achieved through written and signed agreements?
Minnesota Power Dispatchability
Does the proposal include a plan detailing how dispatchability forecast information will be shared with Minnesota Power and the controls that will be used by the project for this purpose?
Confirm the asset's ability to provide accurate forecast information to Minnesota Power for scheduling market operations.
| Development Status | Bidder Response
Estimated Design Completion (%)
Projected Date for 30% Completion?
Has Respondent secured a preferred supplier contract for the major equipment for this project?
| Project Location / Interconnection | Bidder Response
Geographic Location of Project
State
County/Counties
Site Coordinates
Site Elevation
Topographical Map of Project Included in Proposal?
Nearest Weather Station (WMO)
| Expected Annual Maximum Temperature per ASHRAE | X/X°F DB/WB
| Expected Annual Minimum Temperature per ASHRAE | X/X°F DB/WB
| 25-yr, 24-hr Rainfall Event | X inches
Is the project located within federally recognized disadvantaged communities, Tribal lands, or an environmental justice area, as defined under Minn. Statute 216B.1691, subdivision 1(e)?
Minnesota Power Distributed Energy Resource Interconnection Process Information
Have you submitted a request for a Pre-Application Report via Minnesota Power's Distribution Interconnection Process?
Have you received a Pre-Application Report from Minnesota Power?
Please provide the following information, regardless of whether you have formally submitted a request for a Pre-Application Report:
Meter number, pole number, or other equivalent information identifying proposed Point of Common Coupling, if available
Single or three-phase DER configuration
Point of Interconnection Substation Name, if available
Point of Interconnection Substation Voltage, if available (must be connected to Minnesota Power's distribution system at or below 34.5 kV)
| Other Information | Bidder Response
Does the project have a noise management plan? Please elaborate.
Does the proposal include a plan on how the project will maximize employment of those permanently residing in Minnesota Power's service territory, diversity groups, and labor unions?
Does the proposal include a project safety plan for the proposed project?
Does the proposal include proof of engagement with the local community authorities and an indication of their degree of acceptance?
Will the project cause soil erosion and/or water quality issues?
Are there any cultural, archaeological, or paleontological concerns with this project?
Have you completed Phase I or II Environmental Site Assessments for the project?
Does this project better the community by providing jobs / economic benefit, socioeconomic benefit, opportunities for community / public interaction and engagement, and/or access to clean energy? Please elaborate.
Will the project provide environmental benefit to the community, such as via the formation of pollinator habitats or re-establishment of native vegetation? Please elaborate.

## Solar
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
| Facility Equipment Information | Bidder Response
PV Module
Manufacturer
Model
| Single PV Module Output (WDC) | X WDC
Monofacial or Bifacial?
Module Photovoltaic Sensitive Material Chemistry
Non-Reflective Coatings
Do surface coatings contain Long-Chain Perfluoroalkyl Carboxylate Chemical Substances (LCPFAC)?
Country of Origin
Module Quantity
MSA in place with Equipment Supplier?
| Limited Warranty Term (as applicable) | X Years
Inverter
Manufacturer
Model
| Inverter Rating (MVA) | X MVA
Inverter Quantity
Country of Origin
Additional Inverter Characteristics
MSA in place with Equipment Supplier?
Limited Warranty Term (as applicable)
Racking
Racking Configuration
Racking Manufacturer
Model
Tilt Angle
Azimuth
Limited Warranty Term (as applicable)
Safe Harbor Assumptions
Method of Safe Harbor
What equipment is Safe Harbored?
Is the Safe Harbor Method dedicated to this Project or shared between multiple?
General
Confirm that the proposal adheres to the technical specifications in Attachment F. If deviations exist, confirm that justifications for each deviation have been included in the proposal.
Operations & Maintenance
Confirm that an O&M plan has been included for PPA projects.
| Domestic Content | Bidder Response
What percentage of cost of the solar materials and equipment will be made with Domestic Content?
Please specify which components will be manufactured with Domestic Content.
| Environmental Design | Bidder Response
Are there any floodways, floodplains, or jurisdictional waterways which influence the site design? If so, has the impact to these features been mitigated?
Have any geotechnical studies been performed? If yes, please provide a description on the impact to the design resulting from these studies.
Is any civil work required to bring topography slope within tracker system slope tolerance? If yes, please describe.
Does the site have excess land secured to accommodate design changes?
| Energy Loss Assumptions | Bidder Response
Methodology Used to Estimate Energy Losses
| Year 1 Energy Losses Estimated | X%
| Prior to the Collector Plane (near and far shadings, soiling losses) | X%, please describe.
| DC and Collection (module degradation, electrical loss due to shadings, light induced degradation, mismatch) | X%, please describe.
| Power Conversion and AC System (inverter losses, auxiliaries, transformer losses) | X%, please describe.
| Solar Production Estimate | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Average Annual Degradation (%)
P## Net Capacity Factors
P50 Net Capacity Factor (annualized) (%)
P75 Net Capacity Factor (annualized) (%)
P90 Net Capacity Factor (annualized) (%)
Hourly Projected Output
On-Site Irradiance Data Provided?
| 12 x 24 Expected Average Day Solar Energy Delivered to Distribution System (MWh) - Year 1 | [24 empty] | Monthly Average | Monthly Max
| (CPT) | HE1 | HE2 | HE3 | HE4 | HE5 | HE6 | HE7 | HE8 | HE9 | HE10 | HE11 | HE12 | HE13 | HE14 | HE15 | HE16 | HE17 | HE18 | HE19 | HE20 | HE21 | HE22 | HE23 | HE24
| January | [24 empty] | #DIV/0! | 0
| February | [24 empty] | #DIV/0! | 0
| March | [24 empty] | #DIV/0! | 0
| April | [24 empty] | #DIV/0! | 0
| May | [24 empty] | #DIV/0! | 0
| June | [24 empty] | #DIV/0! | 0
| July | [24 empty] | #DIV/0! | 0
| August | [24 empty] | #DIV/0! | 0
| September | [24 empty] | #DIV/0! | 0
| October | [24 empty] | #DIV/0! | 0
| November | [24 empty] | #DIV/0! | 0
| December | [24 empty] | #DIV/0! | 0
|  | HE18: Total Estimated Year #1 Contract Energy | #DIV/0! | 0

## Storage
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
| Facility Information | Bidder Response
| Description | Ex. BESS shall be rated for X MWAC for a continuous Y-hour duration measured at the POI to provide energy storage services including discharging energy, installed capacity, solar smoothing, and effective capacity, ancillary services, and capacity attritubes to meet requirements of Owner's executed off-take agreement for the facility. This measurement should be net of any Auxiliary Loads for cooling, UPS, and control, unless otherwise specified in the performance acceptance test. The POI requirements must be met for the entirety of the Project Life starting at Substantial Completion.
Use case description (primary use case and other capabilities) Please confirm that controls and equipment are capable of islanding/grid forming.
| BESS Size & Duration | X MWAC, Y hours at POI
| BESS Operational Life | X years
Will the project by AC- or DC-coupled with solar?
If DC-coupled, is it a bi-directional or a mono-directional inverter?
Dispatch Control Ownership (describe strategy)
| AC Roundtrip Efficiency (%) | X % at POI, accounting for all losses and auxiliary losses
Power Factor at POI
| Total Peak Auxiliary Load at max. ambient conditions. Provide for charge/discharge and rest/idle. | X MWAC charge/discharge, Y MWAC rest/idle
| Total Peak Auxiliary Load at min. ambient conditions. Provide for charge/discharge and rest/idle. | X MWAC charge/discharge, Y MWAC rest/idle
| Total Peak Auxiliary Load at 25°C. Provide for charge/discharge and rest/idle. | X MWAC charge/discharge, Y MWAC rest/idle
| Average Annual Auxiliary Load based on one full equivalent cycle per day for 365 days | X MWAC
Maximum Cycles per Day
Maximum Cycles per Year
| Maximum Annual Throughput | X MWh (and Y equivalent cycles)
| Degradation | Please provide a degradation curve with and without augmentation.
| Overbuild | Project sized to maintain capacity for X years before first augmentation.
| Storage System Augmentation Plan | Please describe augmentation plan for storage asset.
| Response Time | X seconds
Battery System
BESS Integrator
BESS Enclosure Model
Cell/Module OEM
Country of Origin
Chemistry
Please describe Fire Suppression/Prevention Controls/Prevention strategy.
Climate Control (description)
| Design Life | X years
PCS / Inverter
Manufacturer
Model
Confirm Inverter has Grid Forming Capability
Country of Origin
| Inverter Rating | X MWAC at 40°C / Y MWAC at 50°C
| Design Life | X years
Number of Inverters
Safe Harbor Assumptions
Method of Safe Harbor
What equipment is Safe Harbored?
Is the safe harbor method dedicated to this Project or shared between multiple?
Equipment Warranty
BESS Equipment Standard Warranty Please indicate years of coverage, parts/labor coverage, inclusion of performance guarantees.
BESS Equipment Extended Warranty Please indicate offer details for up to 20 yrs coverage or useful life of BESS, inclusion of performance guarantees.
PCS Equipment Standard Warranty Please indicate years of coverage, parts/labor coverage.
PCS Equipment Extended Warranty Please provide offers for extended warranty up to 20 yrs or useful life of BESS.
Warranty Average State of Charge Please indicate average state of charge required in standard and extended BESS warranties.
Operations & Maintenance
Long Term Services Agreement (O&M) description Please provide annual cost, duration, and equipment serviced to maintain performance guarantees listed below. It is expected that Project will be provided with consistent MWh capacity for 20 years, including estimated costs for future augmentation events. Contractor shall also provide degradation curves with and without augmentation for reference.
Confirm that an O&M plan has been included for PPA projects.
Performance Guarantees
| Power / Capacity Guarantee | X MW / Y MWh at a power factor of Z lagging or leading at POI, accounting for all losses, efficiencies, and auxiliarly loads, for 20 years or life of project.
| Availability Guarantee | X % (Min. 95%, Bidder to provide availability equation)
| Roundtrip Efficiency (RTE) Guarantee | Annual X % (Min. 85% at POI, inclusive of auxiliary load)
Liquidated Damages
| Power Guarantee | MW Shortage * $X / day
| Capacity Guarantee | MWh Shortage * $X / day
| Availability Guarantee | (Guaranteed Availability – Measured Availability) * $X / MW * Guaranteed Capacity
| Roundtrip Efficiency (RTE) Guarantee | $X per MW of BESS Capacity per Y % (prorated for partial percentages) below the Guaranteed Performance Threshold per day
General
Confirm that the proposal adheres to the technical specifications in Attachment F. If deviations exist, confirm that justifications for each deviation have been included in the proposal.
| Domestic Content | Bidder Response
What percentage of cost the storage materials and equipment will be made with domestic content?
Please specify which components will be manufactured with domestic content.

## Agency Coordination & Permits
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
Please identify all relevant permits and agency coordination efforts initiated or obtained to date, with a brief status summary. For your convenience, Minnesota Power has provided below a non-exhaustive list of relevant approval processes and agencies with which coordination may be required to permit your facility.
| Agency | Approval/Coordination | Status
Potential Agency Coordination and Permitting Processes for Solar in Minnesota
| Agency | Approval/Coordination
| Lead Federal Agency | National Environmental Policy Act Review - Categorical Exclusion, Environmental Assessment, or Environmental Impact Statement, if applicable
| U.S. Environmental Protection Agency (EPA) | Spill Prevention, Containment, and Countermeasure Plan, if applicable
| U.S. Army Corps of Engineers (USACE) | Clean Water Act, Section 404 compliance: Nationwide Permit (NWP) or Regional General Permit (RGP), if applicable
Rivers and Harbors Act, Section 10, if applicable
Rivers and Harbors Act, Section 408, if applicable
| U.S. Fish & Wildlife Service (USFWS) | Section 7 Endangered Species Act, Threatened and Endangered Species Consultation and Clearance - Information for Planning and Consultation; if applicable Migratory Bird Treaty Act Compliance; and if applicable Bald and Golden Eagle Protection Act Compliance. if applicable
| Federal Aviation Administration (FAA) | Notice of Proposed Construction or Alteration, if applicable
| Minnesota Board of Water and Soil Resources (BWSR) | Minnesota Statutes 103G and Minnesota Rules Chapter 8420 Wetland Conservation Act (WCA) Approval, if applicable
| Minnesota Department of Natural Resources (MnDNR) | Natural Heritage Review (via Conservation Explorer)
Coordination with Regional Environmental Assessment Ecologist (REAE) if applicable
Land Utility Crossing License (if utility is crossing over state lands) if applicable
Utility Crossing License (if utility crossing over, under, or across any state water)
Public Waters Work permit (if changing or diminishing the course, current, or cross section of public waters by filling, excavating, or placing materials in or on the bed of public waters)
Clean Water Act, Section 401 compliance: Water Quality Certification
| Minnesota Pollution Control Agency (MPCA) | NPDES General Permit for Stormwater Discharges from Construction Activities and Stormwater Pollution Prevention Plan (SWPPP), MNR 100001 (if constructing on tribal lands, NPDES permitting is issued by the EPA)
| Minnesota Department of Transportation (MnDOT) | Utility Accommodation on Trunk Highway Right of Way if applicable
Miscellaneous Work on Trunk Highway Right of Way if applicable
Drainage Permit if applicable
Access / Driveway Permit if applicable
Rail Bank Access if applicable
Utility Installation and/or Miscellaneous Work on Rail Bank if applicable
| Tribal Outreach and Coordination (Tribal/Treaty lands or federal nexus) | Cultural and Archeological resources survey efforts if applicable
Consultation with tribal nations if applicable
| Minnesota State Historic Preservation Office (SHPO) | SHPO Consultation
| Minnesota Department of Labor and Industry (MDLI) | Request for Electrical Inspection
| Local Governing Authority | Zoning Permits - Conditional Use, Special Use, land use, grading, fence etc., if applicable
Site Plan Review, if applicable
Building Permit (and associated electrical, mechanical, plumbing, if applicable)
Coordination with Federally-Recognized Tribal / Local Governments, if applicable
Local government unit (LGU) has primary responsibility for administering WCA, if applicable
Utility Permit, if applicable
Access / Driveway Permit, if applicable
Miscellaneous Right of Way Permit, if applicable
Drainage Permit, if applicable
Floodplain Permit, if applicable
Grading Permit / Land Disturbance Permit, if applicable
Shoreland / Vegetation Alteration Permit, if applicable
Fire Protection Permit, if applicable
Demolition Permit, if applicable
| Other Relevant Permits | Watershed District Permits, if applicable
Utility Coordination, if applicable
Railroad Coordination, if applicable

## BOT Bid Pricing
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
Information requested ONLY IF bid includes an energy storage component.
| Solar Capital Expenditures |  |  | Storage Capital Expenditures
|  | Total ($) |  |  | Total ($)
| Modules |  |  | Batteries
| Inverters |  |  | Inverters / PCS
| Other Equipment Spend (Racking, MPT, Breakers) |  |  | Other Equipment Spend (MPT, Breakers)
| Balance of Plant Spend (excluding items listed in row 9) |  |  | Balance of Plant Spend (excluding items listed in row 9)
| Build Transfer Fee, if applicable |  |  | Build Transfer Fee, if applicable
| Labor / Install Costs (including civil) |  |  | Labor / Install Costs
| Other Costs (including financing, sales tax, etc.) |  |  | Other Costs (including financing, sales tax, etc.)
| Solar Operational Expenditures |  |  | Storage Operational Expenditures
|  | Total ($/kWDC) |  |  | Total ($/kWAC)
| Annual Real Estate Expenses (rent, royalty) |  |  | Annual Real Estate Expenses (rent, royalty)
| Annual Property Taxes, if applicable |  |  | Long Term Services (O&M), if applicable Assume 20-yr term.
Extended Warranty To enable Performance Guarantee for 20 years.
| Solar BOT Purchase Price |  |  | Annual Property Taxes, if applicable
Guaranteed Purchase Price ($)
Storage BOT Purchase Price
Guaranteed Purchase Price ($)
Inflation Reduction Act Tax Credits
|  | Solar Asset | Storage Asset
Tax Credit Applied (ITC/PTC)
Bonus Credit Requirements:
Wage and Apprenticeship Requirements Met?
Domestic Content Requirements Met?
Is site located in an Energy Community?

## PPA Bid Pricing Opt. 1
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
Capital Expenditures
Total ($)
Modules
Inverters
Other Equipment Spend (Racking, MPT, Breakers)
Balance of Plant Spend (excluding items listed in row 9)
Build Transfer Fee, if applicable
Labor / Install Costs (including civil)
Other Costs (including financing, sales tax, etc.)
Operational Expenditures
Total ($/kWDC)
Annual Real Estate Expenses (rent, royalty)
Annual Property Taxes, if applicable
Labor ($/kW-yr)
Fixed O&M Expenses ($/kW-yr)
| PPA Pricing and Contract Structure #1 |  | Values below are calculated based on inputted PPA price and fixed escalation for the term of the PPA.
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Annual PPA Energy price Delivered ($/MWh)
Bidded Year-Over-Year Escalation (%)
PPA Term Length (must be between 15 - 20 yrs)
Proposed PPA Buyout Asset Transfer Date
Estimated Asset Fair Market Value at Transfer Date
Inflation Reduction Act/Tax Credits
Solar Asset
Tax Credit Applied (ITC/PTC)
Bonus Credit Requirements:
Wage and Apprenticeship Requirements Met?
Domestic Content Requirements Met?
Is site located in an Energy Community?

## PPA Bid Pricing Opt. 2
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
Capital Expenditures
Total ($)
Modules
Inverters
Other Equipment Spend (Racking, MPT, Breakers)
Balance of Plant Spend (excluding items listed in row 9)
Build Transfer Fee, if applicable
Labor / Install Costs (including civil)
Other Costs (including financing, sales tax, etc.)
Operational Expenditures
Total ($/kWDC)
Annual Real Estate Expenses (rent, royalty)
Annual Property Taxes, if applicable
Labor ($/kW-yr)
Fixed O&M Expenses ($/kW-yr)
| PPA Pricing and Contract Structure #1 |  | Values below are calculated based on inputted PPA price and fixed escalation for the term of the PPA.
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Annual PPA Energy price Delivered ($/MWh)
Bidded Year-Over-Year Escalation (%)
PPA Term Length (must be between 15 - 20 yrs)
Proposed PPA Buyout Asset Transfer Date
Estimated Asset Fair Market Value at Transfer Date
Inflation Reduction Act/Tax Credits
Solar Asset
Tax Credit Applied (ITC/PTC)
Bonus Credit Requirements:
Wage and Apprenticeship Requirements Met?
Domestic Content Requirements Met?
Is site located in an Energy Community?

## PPA Bid Pricing Opt. 3
Minnesota Power 2025 Request for Proposals For Distributed Solar Resources
Attachment E- Economic and Technical Data Form
Capital Expenditures
Total ($)
Modules
Inverters
Other Equipment Spend (Racking, MPT, Breakers)
Balance of Plant Spend (excluding items listed in row 9)
Build Transfer Fee, if applicable
Labor / Install Costs (including civil)
Other Costs (including financing, sales tax, etc.)
Operational Expenditures
Total ($/kWDC)
Annual Real Estate Expenses (rent, royalty)
Annual Property Taxes, if applicable
Labor ($/kW-yr)
Fixed O&M Expenses ($/kW-yr)
| PPA Pricing and Contract Structure #1 |  | Values below are calculated based on inputted PPA price and fixed escalation for the term of the PPA.
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Annual PPA Energy price Delivered ($/MWh)
Bidded Year-Over-Year Escalation (%)
PPA Term Length (must be between 15 - 20 yrs)
Proposed PPA Buyout Asset Transfer Date
Estimated Asset Fair Market Value at Transfer Date
Inflation Reduction Act/Tax Credits
Solar Asset
Tax Credit Applied (ITC/PTC)
Bonus Credit Requirements:
Wage and Apprenticeship Requirements Met?
Domestic Content Requirements Met?
Is site located in an Energy Community?